## data extraction table
Author | Year | Phantom/Subject Type | CT System | Optimization Strategy | Dose Metrics | Image Quality Metrics | Main Findings
Gomez et al | 2019 | PMMA | NA | kVp/mAs variation | CTDIvol | Noise | slight dose reduction
Santos et al | 2022 | PMMA | GE Lightspeed VCT Model 64 Slices | kVp/mAs variation | CTDIvol | Noise | Significant dose reduction
Santos et al | 2023 | PMMA | Philips 16 Slices | kVp/mAs variation | CTDIvol | Noise | Significant dose reduction
Fernandez et al | 2017 | PMMA | GE Discovery 64 Slices | kVp variation | CTDIvol | Noise | Significant dose reduction
Mekonin et al | 2023 | PMMA | Philips Big Bore 16 Slice | NA | CTDIvol | NA | Dose comparison to AAPM and DRL
Prabsattroo [25] | 2023 | Cathpan 700 | NeuViz 128 Slices | kVp/mAs variation | NA | Noise, CT number accuracy | Moderate kVp reduction balanced dose and image quality
Anam [13] | 2025 | ACR | GE Revolution 128 CT Scanner | kVp/mAs variation | NA | CNR | Automated CNR evaluation improved optimization reproducibility
Chang [26] | 2017 | ACR | Philips Briliance iCT 128 Slices | kVp/mAs variation | NA | Noise | 100 kVp produced optimal balance
Korn [27] | 2015 | ACR | GE Lightspeed VCT, Siemens Somatom Definition Flash Scanner | IR | CTDIvol | CNR, SNR | IR improved image quality at lower dose
Rapalino [28] | 2012 | ACR | GE Discovery CT750HD | IR | CTDIvol | Noise, CNR | ASIR improve image quality and reduce radiation at the same time
Baskan [39] | 2015 | CIRS | Philips Brilliance 256 Slices | kVp/mAs variation, IR | CTDIvol | Noise, SNR, CNR (Objective), Likert Scale of subjective noise, artifacts, and descriptiveness of the posterior fossa contents, GM–WM differentiation, and overall image quality (Qualitative) | Significant dose reduction without loss of diagnostic quality
Anim- Sampong [40] | 2023 | RANDO Anthropomorbic Phantom | Toshiba Aquilon ONE TSX-301A 640 Multiclice | kVp/mAs variation, Pitch, AEC | CTDIvol | SNR, radiologist | Dose reduction with maintained image quality
Kayaokay [41] | 2025 | Alderson Rando Phantom | Siemens Somatom Definition AS Plus 128 Slices | kVp variation, Pitch | DLP | SNR, CNR, | Significant dose reduction without loss of diagnostic quality
Gomez [42] | 2020 | Female Anthropomorphic | GE VCT 64 Slices | kVp variation, AEC | CTDIvol | Noise | Significant dose reduction with high of Noise
Gharbi [43] | 2018 | Anthropomorphic | Siemens Somatom Definition AS Plus 128 Slices | kVp/mAs variation, IR | CTDIvol | CNR, SNR | radiosensitive organ dose reduction and image quality improvement
Kapur [47] | 2021 | Patient | Philips Healthcare 256 CT | kVp/mAs variation | DLP | Noise | Dose reduction with maintained image quality
Sakhnini [48] | 2017 | Patient | GE Health Care Optima CT660 | kV, mAs, Pitch variation | DLP | Noise | Significant dose reduction whlie preserving image quality
Wu [49] | 2020 | Patient | Philips Healthcare 64 Slices | kV, mAs, Pitch variation | CTDI, DLP | SNR, CNR, objective image noise, sharpness, diagnostic acceptability, and artifacts (Qualitative) | Significant dose reduction with reasonable image
Paprottka [50] | 2021 | Patient | Phillips Healthcare Ingenuity Core 128 | mAs variation | CTDI, DLP | SNR, CNR, Overall image quality, Anatomic detail, GM/WM differentiation, Conspicuity of ischemic demarcation | Significant dose reduction with reasonable image
Kilik [51] | 2011 | Patient | GE | mAs variation, IR | CTDIvol | SNR,CNR, Subjective image noise , Sharpness, Diagnostic acceptability, Artifacts (Qualitatuve) | reduce dose without compromising image quality

## optimization parameter table
Optimization Parameter | Mechanism | Main Effect on Dose | Main Effect on Image Quality | Key Limitation
Tube Voltage (kVp) | Reduces photon energy | Significant dose reduction | Increased noise at low kVp | Reduced CT number accuracy
Tube Current (mAs) | Reduces photon quantity | Direct dose reduction | Increased image noise | Potential diagnostic degradation
Pitch | Reduces beam overlap | Moderate dose reduction | Possible reduction in spatial resolution | Limited optimization margin
Slice Thickness | Alters voxel averaging | Indirect dose influence | Thicker slices reduce noise | Reduced anatomical detail
Automatic Exposure Control (AEC) | Dynamic tube current modulation | Improved dose efficiency | Preserves image quality | Scanner-dependent performance
Iterative Reconstruction (IR) | Noise suppression algorithm | Enables lower-dose acquisition | Improved CNR/SNR | Artificial image texture at high levels
Dose Modulation | Region-specific exposure adaptation | Organ dose reduction | Variable effect on uniformity | Requires calibration